## Participants
Number of Buses | Number of Lines | Number of Generators | Number of Loads | Number of ESSs | Number of Microgrids | RefBus
14 | 20 | 2 | 2 | 2 | 2 | 1

## TSO
|  |  | Line Reactance | Line Susceptance | Line Capacities
Line No. | From Bus | To Bus | x | B | Tmax
1 | 1 | 2 | 0.05917 | 16.9005 | 150000000
2 | 1 | 5 | 0.22304 | 4.4835 | 120000000
3 | 2 | 3 | 0.19797 | 5.0513 | 30000000
4 | 2 | 4 | 0.17632 | 5.6715 | 150000000
5 | 2 | 5 | 0.17388 | 5.7511 | 150000000
6 | 3 | 4 | 0.17103 | 5.8469 | 40000000
7 | 4 | 5 | 0.04211 | 23.7473 | 150000000
8 | 4 | 7 | 0.20912 | 4.7819 | 150000000
9 | 4 | 9 | 0.55618 | 1.798 | 10000000
10 | 5 | 6 | 0.25202 | 3.9679 | 150000000
11 | 6 | 11 | 0.1989 | 5.0277 | 80000000
12 | 6 | 12 | 0.25581 | 3.9092 | 150000000
13 | 6 | 13 | 0.13027 | 7.6764 | 150000000
14 | 7 | 8 | 0.17615 | 5.677 | 150000000
15 | 7 | 9 | 0.11001 | 9.0901 | 150000000
16 | 9 | 10 | 0.0845 | 11.8343 | 150000000
17 | 9 | 14 | 0.27038 | 3.6985 | 50000000
18 | 10 | 11 | 0.19207 | 5.2064 | 150000000
19 | 12 | 13 | 0.19988 | 5.003 | 150000000
20 | 13 | 14 | 0.34802 | 2.8734 | 150000000

## Gen1
Thermal Generators
Bus | Pmax | Pmin | RampUp | RampDown | P_initial | Cost t=1 | Cost t=2 | Cost t=3 | Cost t=4 | Cost t=5 | Cost t=6 | Cost t=7 | Cost t=8 | Cost t=9 | Cost t=10 | Cost t=11 | Cost t=12 | Cost t=13 | Cost t=14 | Cost t=15 | Cost t=16 | Cost t=17 | Cost t=18 | Cost t=19 | Cost t=20 | Cost t=21 | Cost t=22 | Cost t=23 | Cost t=24
1 | 300 | 0 | 100 | 100 | 65 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
2 | 50 | 0 | 50 | 50 | 70 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
3 | 30 | 0 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
6 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
8 | 20 | 0 | 20 | 20 | 20 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35

## Gen2
Thermal Generators
Bus | Pmax | Pmin | RampUp | RampDown | P_initial | Cost t=1 | Cost t=2 | Cost t=3 | Cost t=4 | Cost t=5 | Cost t=6 | Cost t=7 | Cost t=8 | Cost t=9 | Cost t=10 | Cost t=11 | Cost t=12 | Cost t=13 | Cost t=14 | Cost t=15 | Cost t=16 | Cost t=17 | Cost t=18 | Cost t=19 | Cost t=20 | Cost t=21 | Cost t=22 | Cost t=23 | Cost t=24
1 | 300 | 0 | 100 | 100 | 50 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
2 | 50 | 0 | 50 | 50 | 50 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
3 | 30 | 0 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
6 | 50 | 0 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50

## Dem1
Loads
Bus | Dmax | Dmin | RampUp | RampDown | P_initial | Utility t=1 | Utility t=2 | Utility t=3 | Utility t=4 | Utility t=5 | Utility t=6 | Utility t=7 | Utility t=8 | Utility t=9 | Utility t=10 | Utility t=11 | Utility t=12 | Utility t=13 | Utility t=14 | Utility t=15 | Utility t=16 | Utility t=17 | Utility t=18 | Utility t=19 | Utility t=20 | Utility t=21 | Utility t=22 | Utility t=23 | Utility t=24 | E^D
1 | 100 | 0 | 21.7 | 21.7 | 2 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 50
3 | 94.2 | 0 | 94.2 | 94.2 | 9.42 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
4 | 47.8 | 0 | 47.8 | 47.8 | 4.78 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
5 | 7.6 | 0 | 7.6 | 7.6 | 0.76 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
6 | 11.2 | 0 | 11.2 | 11.2 | 1.12 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
9 | 29.5 | 0 | 29.5 | 29.5 | 2.95 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
10 | 9 | 0 | 9 | 9 | 0.9 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
11 | 3.5 | 0 | 3.5 | 3.5 | 0.35 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
12 | 6.1 | 0 | 6.1 | 6.1 | 0.61 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
13 | 13.8 | 0 | 13.8 | 13.8 | 1.38 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
14 | 14.9 | 0 | 14.9 | 14.9 | 1.49 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30

## Dem2
Loads
Bus | Dmax | Dmin | RampUp | RampDown | P_initial | Utility t=1 | Utility t=2 | Utility t=3 | Utility t=4 | Utility t=5 | Utility t=6 | Utility t=7 | Utility t=8 | Utility t=9 | Utility t=10 | Utility t=11 | Utility t=12 | Utility t=13 | Utility t=14 | Utility t=15 | Utility t=16 | Utility t=17 | Utility t=18 | Utility t=19 | Utility t=20 | Utility t=21 | Utility t=22 | Utility t=23 | Utility t=24 | E^D
1 | 21.7 | 0 | 21.7 | 21.7 | 1 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 50
3 | 94.2 | 0 | 94.2 | 94.2 | 9.42 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
4 | 47.8 | 0 | 47.8 | 47.8 | 4.78 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
5 | 7.6 | 0 | 7.6 | 7.6 | 0.76 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
6 | 11.2 | 0 | 11.2 | 11.2 | 1.12 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
9 | 29.5 | 0 | 29.5 | 29.5 | 2.95 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
10 | 9 | 0 | 9 | 9 | 0.9 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
11 | 3.5 | 0 | 3.5 | 3.5 | 0.35 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
12 | 6.1 | 0 | 6.1 | 6.1 | 0.61 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
13 | 13.8 | 0 | 13.8 | 13.8 | 1.38 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30

## ESSs
Storage
Bus | Emax | Emin | ChMax | DisMax | E_initial | MC_ch t=1 | MC_ch t=2 | MC_ch t=3 | MC_ch t=4 | MC_ch t=5 | MC_ch t=6 | MC_ch t=7 | MC_ch t=8 | MC_ch t=9 | MC_ch t=10 | MC_ch t=11 | MC_ch t=12 | MC_ch t=13 | MC_ch t=14 | MC_ch t=15 | MC_ch t=16 | MC_ch t=17 | MC_ch t=18 | MC_ch t=19 | MC_ch t=20 | MC_ch t=21 | MC_ch t=22 | MC_ch t=23 | MC_ch t=24 | MC_dis t=1 | MC_dis t=2 | MC_dis t=3 | MC_dis t=4 | MC_dis t=5 | MC_dis t=6 | MC_dis t=7 | MC_dis t=8 | MC_dis t=9 | MC_dis t=10 | MC_dis t=11 | MC_dis t=12 | MC_dis t=13 | MC_dis t=14 | MC_dis t=15 | MC_dis t=16 | MC_dis t=17 | MC_dis t=18 | MC_dis t=19 | MC_dis t=20 | MC_dis t=21 | MC_dis t=22 | MC_dis t=23 | MC_dis t=24 | ChEff | DisEff | Delta_coeff. | Gamma_coeff.
11 | 100 | 0 | 50 | 50 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 1 | 1 | 1 | 1
13 | 100 | 0 | 50 | 50 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 1 | 1 | 1 | 1

## MG_Loc
MG Location
Bus
MG1 | 4
MG2 | 5
MG3
MG4

## MG1
Line Data |  |  |  |  | Upper/Lower Bounds |  |  | Distributed Generators | [97 empty] | Distributed Energy Storage Systems | [102 empty] | Demand Aggregators | [97 empty] | SVC
Line No. | From Bus | To Bus | r | x | Sflow_bar | V_upper | V_lower | Bus | PDG_min t=1 | PDG_min t=2 | PDG_min t=3 | PDG_min t=4 | PDG_min t=5 | PDG_min t=6 | PDG_min t=7 | PDG_min t=8 | PDG_min t=9 | PDG_min t=10 | PDG_min t=11 | PDG_min t=12 | PDG_min t=13 | PDG_min t=14 | PDG_min t=15 | PDG_min t=16 | PDG_min t=17 | PDG_min t=18 | PDG_min t=19 | PDG_min t=20 | PDG_min t=21 | PDG_min t=22 | PDG_min t=23 | PDG_min t=24 | PDG_max t=1 | PDG_max t=2 | PDG_max t=3 | PDG_max t=4 | PDG_max t=5 | PDG_max t=6 | PDG_max t=7 | PDG_max t=8 | PDG_max t=9 | PDG_max t=10 | PDG_max t=11 | PDG_max t=12 | PDG_max t=13 | PDG_max t=14 | PDG_max t=15 | PDG_max t=16 | PDG_max t=17 | PDG_max t=18 | PDG_max t=19 | PDG_max t=20 | PDG_max t=21 | PDG_max t=22 | PDG_max t=23 | PDG_max t=24 | PF_min | PBid_DG t=1 | PBid_DG t=2 | PBid_DG t=3 | PBid_DG t=4 | PBid_DG t=5 | PBid_DG t=6 | PBid_DG t=7 | PBid_DG t=8 | PBid_DG t=9 | PBid_DG t=10 | PBid_DG t=11 | PBid_DG t=12 | PBid_DG t=13 | PBid_DG t=14 | PBid_DG t=15 | PBid_DG t=16 | PBid_DG t=17 | PBid_DG t=18 | PBid_DG t=19 | PBid_DG t=20 | PBid_DG t=21 | PBid_DG t=22 | PBid_DG t=23 | PBid_DG t=24 | PQBid_DG t=1 | PQBid_DG t=2 | PQBid_DG t=3 | PQBid_DG t=4 | PQBid_DG t=5 | PQBid_DG t=6 | PQBid_DG t=7 | PQBid_DG t=8 | PQBid_DG t=9 | PQBid_DG t=10 | PQBid_DG t=11 | PQBid_DG t=12 | PQBid_DG t=13 | PQBid_DG t=14 | PQBid_DG t=15 | PQBid_DG t=16 | PQBid_DG t=17 | PQBid_DG t=18 | PQBid_DG t=19 | PQBid_DG t=20 | PQBid_DG t=21 | PQBid_DG t=22 | PQBid_DG t=23 | PQBid_DG t=24 | Bus | Pdis_max t=1 | Pdis_max t=2 | Pdis_max t=3 | Pdis_max t=4 | Pdis_max t=5 | Pdis_max t=6 | Pdis_max t=7 | Pdis_max t=8 | Pdis_max t=9 | Pdis_max t=10 | Pdis_max t=11 | Pdis_max t=12 | Pdis_max t=13 | Pdis_max t=14 | Pdis_max t=15 | Pdis_max t=16 | Pdis_max t=17 | Pdis_max t=18 | Pdis_max t=19 | Pdis_max t=20 | Pdis_max t=21 | Pdis_max t=22 | Pdis_max t=23 | Pdis_max t=24 | Pch_max t=1 | Pch_max t=2 | Pch_max t=3 | Pch_max t=4 | Pch_max t=5 | Pch_max t=6 | Pch_max t=7 | Pch_max t=8 | Pch_max t=9 | Pch_max t=10 | Pch_max t=11 | Pch_max t=12 | Pch_max t=13 | Pch_max t=14 | Pch_max t=15 | Pch_max t=16 | Pch_max t=17 | Pch_max t=18 | Pch_max t=19 | Pch_max t=20 | Pch_max t=21 | Pch_max t=22 | Pch_max t=23 | Pch_max t=24 | Ch_coef | Dis_coef | E_min | E_max | E_0 | S_DESS_bar | PBid_DESS t=1 | PBid_DESS t=2 | PBid_DESS t=3 | PBid_DESS t=4 | PBid_DESS t=5 | PBid_DESS t=6 | PBid_DESS t=7 | PBid_DESS t=8 | PBid_DESS t=9 | PBid_DESS t=10 | PBid_DESS t=11 | PBid_DESS t=12 | PBid_DESS t=13 | PBid_DESS t=14 | PBid_DESS t=15 | PBid_DESS t=16 | PBid_DESS t=17 | PBid_DESS t=18 | PBid_DESS t=19 | PBid_DESS t=20 | PBid_DESS t=21 | PBid_DESS t=22 | PBid_DESS t=23 | PBid_DESS t=24 | QBid_DESS t=1 | QBid_DESS t=2 | QBid_DESS t=3 | QBid_DESS t=4 | QBid_DESS t=5 | QBid_DESS t=6 | QBid_DESS t=7 | QBid_DESS t=8 | QBid_DESS t=9 | QBid_DESS t=10 | QBid_DESS t=11 | QBid_DESS t=12 | QBid_DESS t=13 | QBid_DESS t=14 | QBid_DESS t=15 | QBid_DESS t=16 | QBid_DESS t=17 | QBid_DESS t=18 | QBid_DESS t=19 | QBid_DESS t=20 | QBid_DESS t=21 | QBid_DESS t=22 | QBid_DESS t=23 | QBid_DESS t=24 | Bus | PDA_min t=1 | PDA_min t=2 | PDA_min t=3 | PDA_min t=4 | PDA_min t=5 | PDA_min t=6 | PDA_min t=7 | PDA_min t=8 | PDA_min t=9 | PDA_min t=10 | PDA_min t=11 | PDA_min t=12 | PDA_min t=13 | PDA_min t=14 | PDA_min t=15 | PDA_min t=16 | PDA_min t=17 | PDA_min t=18 | PDA_min t=19 | PDA_min t=20 | PDA_min t=21 | PDA_min t=22 | PDA_min t=23 | PDA_min t=24 | PDA_max t=1 | PDA_max t=2 | PDA_max t=3 | PDA_max t=4 | PDA_max t=5 | PDA_max t=6 | PDA_max t=7 | PDA_max t=8 | PDA_max t=9 | PDA_max t=10 | PDA_max t=11 | PDA_max t=12 | PDA_max t=13 | PDA_max t=14 | PDA_max t=15 | PDA_max t=16 | PDA_max t=17 | PDA_max t=18 | PDA_max t=19 | PDA_max t=20 | PDA_max t=21 | PDA_max t=22 | PDA_max t=23 | PDA_max t=24 | Pfi | PBid_DA t=1 | PBid_DA t=2 | PBid_DA t=3 | PBid_DA t=4 | PBid_DA t=5 | PBid_DA t=6 | PBid_DA t=7 | PBid_DA t=8 | PBid_DA t=9 | PBid_DA t=10 | PBid_DA t=11 | PBid_DA t=12 | PBid_DA t=13 | PBid_DA t=14 | PBid_DA t=15 | PBid_DA t=16 | PBid_DA t=17 | PBid_DA t=18 | PBid_DA t=19 | PBid_DA t=20 | PBid_DA t=21 | PBid_DA t=22 | PBid_DA t=23 | PBid_DA t=24 | QBid_DA t=1 | QBid_DA t=2 | QBid_DA t=3 | QBid_DA t=4 | QBid_DA t=5 | QBid_DA t=6 | QBid_DA t=7 | QBid_DA t=8 | QBid_DA t=9 | QBid_DA t=10 | QBid_DA t=11 | QBid_DA t=12 | QBid_DA t=13 | QBid_DA t=14 | QBid_DA t=15 | QBid_DA t=16 | QBid_DA t=17 | QBid_DA t=18 | QBid_DA t=19 | QBid_DA t=20 | QBid_DA t=21 | QBid_DA t=22 | QBid_DA t=23 | QBid_DA t=24 | Bus | qSVC_min | qSVC_max | Bid_SVC t=1 | Bid_SVC t=2 | Bid_SVC t=3 | Bid_SVC t=4 | Bid_SVC t=5 | Bid_SVC t=6 | Bid_SVC t=7 | Bid_SVC t=8 | Bid_SVC t=9 | Bid_SVC t=10 | Bid_SVC t=11 | Bid_SVC t=12 | Bid_SVC t=13 | Bid_SVC t=14 | Bid_SVC t=15 | Bid_SVC t=16 | Bid_SVC t=17 | Bid_SVC t=18 | Bid_SVC t=19 | Bid_SVC t=20 | Bid_SVC t=21 | Bid_SVC t=22 | Bid_SVC t=23 | Bid_SVC t=24
1 | 0 | 1 | 0.012705 | 0.30333 | 2 | 1.025 | 0.9025 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 2 | 9 | 8 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 1 | 0 | 50 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
2 | 1 | 2 | 0.001331 | 0.0074576 | 2 | 1.025 | 0.9025 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 100 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 3 | 3.3 | 3.3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 2 | 0 | 50 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
3 | 2 | 3 | 0.026902 | 0.12426 | 2 | 1.025 | 0.9025

## MG2
Line Data |  |  |  |  | Upper/Lower Bounds |  |  | Distributed Generators | [97 empty] | Distributed Energy Storage Systems | [102 empty] | Demand Aggregators | [97 empty] | SVC
Line No. | From Bus | To Bus | r | x | Sflow_bar | V_upper | V_lower | Bus | PDG_min t=1 | PDG_min t=2 | PDG_min t=3 | PDG_min t=4 | PDG_min t=5 | PDG_min t=6 | PDG_min t=7 | PDG_min t=8 | PDG_min t=9 | PDG_min t=10 | PDG_min t=11 | PDG_min t=12 | PDG_min t=13 | PDG_min t=14 | PDG_min t=15 | PDG_min t=16 | PDG_min t=17 | PDG_min t=18 | PDG_min t=19 | PDG_min t=20 | PDG_min t=21 | PDG_min t=22 | PDG_min t=23 | PDG_min t=24 | PDG_max t=1 | PDG_max t=2 | PDG_max t=3 | PDG_max t=4 | PDG_max t=5 | PDG_max t=6 | PDG_max t=7 | PDG_max t=8 | PDG_max t=9 | PDG_max t=10 | PDG_max t=11 | PDG_max t=12 | PDG_max t=13 | PDG_max t=14 | PDG_max t=15 | PDG_max t=16 | PDG_max t=17 | PDG_max t=18 | PDG_max t=19 | PDG_max t=20 | PDG_max t=21 | PDG_max t=22 | PDG_max t=23 | PDG_max t=24 | PF_min | PBid_DG t=1 | PBid_DG t=2 | PBid_DG t=3 | PBid_DG t=4 | PBid_DG t=5 | PBid_DG t=6 | PBid_DG t=7 | PBid_DG t=8 | PBid_DG t=9 | PBid_DG t=10 | PBid_DG t=11 | PBid_DG t=12 | PBid_DG t=13 | PBid_DG t=14 | PBid_DG t=15 | PBid_DG t=16 | PBid_DG t=17 | PBid_DG t=18 | PBid_DG t=19 | PBid_DG t=20 | PBid_DG t=21 | PBid_DG t=22 | PBid_DG t=23 | PBid_DG t=24 | PQBid_DG t=1 | PQBid_DG t=2 | PQBid_DG t=3 | PQBid_DG t=4 | PQBid_DG t=5 | PQBid_DG t=6 | PQBid_DG t=7 | PQBid_DG t=8 | PQBid_DG t=9 | PQBid_DG t=10 | PQBid_DG t=11 | PQBid_DG t=12 | PQBid_DG t=13 | PQBid_DG t=14 | PQBid_DG t=15 | PQBid_DG t=16 | PQBid_DG t=17 | PQBid_DG t=18 | PQBid_DG t=19 | PQBid_DG t=20 | PQBid_DG t=21 | PQBid_DG t=22 | PQBid_DG t=23 | PQBid_DG t=24 | Bus | Pdis_max t=1 | Pdis_max t=2 | Pdis_max t=3 | Pdis_max t=4 | Pdis_max t=5 | Pdis_max t=6 | Pdis_max t=7 | Pdis_max t=8 | Pdis_max t=9 | Pdis_max t=10 | Pdis_max t=11 | Pdis_max t=12 | Pdis_max t=13 | Pdis_max t=14 | Pdis_max t=15 | Pdis_max t=16 | Pdis_max t=17 | Pdis_max t=18 | Pdis_max t=19 | Pdis_max t=20 | Pdis_max t=21 | Pdis_max t=22 | Pdis_max t=23 | Pdis_max t=24 | Pch_max t=1 | Pch_max t=2 | Pch_max t=3 | Pch_max t=4 | Pch_max t=5 | Pch_max t=6 | Pch_max t=7 | Pch_max t=8 | Pch_max t=9 | Pch_max t=10 | Pch_max t=11 | Pch_max t=12 | Pch_max t=13 | Pch_max t=14 | Pch_max t=15 | Pch_max t=16 | Pch_max t=17 | Pch_max t=18 | Pch_max t=19 | Pch_max t=20 | Pch_max t=21 | Pch_max t=22 | Pch_max t=23 | Pch_max t=24 | Ch_coef | Dis_coef | E_min | E_max | E_0 | S_DESS_bar | PBid_DESS t=1 | PBid_DESS t=2 | PBid_DESS t=3 | PBid_DESS t=4 | PBid_DESS t=5 | PBid_DESS t=6 | PBid_DESS t=7 | PBid_DESS t=8 | PBid_DESS t=9 | PBid_DESS t=10 | PBid_DESS t=11 | PBid_DESS t=12 | PBid_DESS t=13 | PBid_DESS t=14 | PBid_DESS t=15 | PBid_DESS t=16 | PBid_DESS t=17 | PBid_DESS t=18 | PBid_DESS t=19 | PBid_DESS t=20 | PBid_DESS t=21 | PBid_DESS t=22 | PBid_DESS t=23 | PBid_DESS t=24 | QBid_DESS t=1 | QBid_DESS t=2 | QBid_DESS t=3 | QBid_DESS t=4 | QBid_DESS t=5 | QBid_DESS t=6 | QBid_DESS t=7 | QBid_DESS t=8 | QBid_DESS t=9 | QBid_DESS t=10 | QBid_DESS t=11 | QBid_DESS t=12 | QBid_DESS t=13 | QBid_DESS t=14 | QBid_DESS t=15 | QBid_DESS t=16 | QBid_DESS t=17 | QBid_DESS t=18 | QBid_DESS t=19 | QBid_DESS t=20 | QBid_DESS t=21 | QBid_DESS t=22 | QBid_DESS t=23 | QBid_DESS t=24 | Bus | PDA_min t=1 | PDA_min t=2 | PDA_min t=3 | PDA_min t=4 | PDA_min t=5 | PDA_min t=6 | PDA_min t=7 | PDA_min t=8 | PDA_min t=9 | PDA_min t=10 | PDA_min t=11 | PDA_min t=12 | PDA_min t=13 | PDA_min t=14 | PDA_min t=15 | PDA_min t=16 | PDA_min t=17 | PDA_min t=18 | PDA_min t=19 | PDA_min t=20 | PDA_min t=21 | PDA_min t=22 | PDA_min t=23 | PDA_min t=24 | PDA_max t=1 | PDA_max t=2 | PDA_max t=3 | PDA_max t=4 | PDA_max t=5 | PDA_max t=6 | PDA_max t=7 | PDA_max t=8 | PDA_max t=9 | PDA_max t=10 | PDA_max t=11 | PDA_max t=12 | PDA_max t=13 | PDA_max t=14 | PDA_max t=15 | PDA_max t=16 | PDA_max t=17 | PDA_max t=18 | PDA_max t=19 | PDA_max t=20 | PDA_max t=21 | PDA_max t=22 | PDA_max t=23 | PDA_max t=24 | Pfi | PBid_DA t=1 | PBid_DA t=2 | PBid_DA t=3 | PBid_DA t=4 | PBid_DA t=5 | PBid_DA t=6 | PBid_DA t=7 | PBid_DA t=8 | PBid_DA t=9 | PBid_DA t=10 | PBid_DA t=11 | PBid_DA t=12 | PBid_DA t=13 | PBid_DA t=14 | PBid_DA t=15 | PBid_DA t=16 | PBid_DA t=17 | PBid_DA t=18 | PBid_DA t=19 | PBid_DA t=20 | PBid_DA t=21 | PBid_DA t=22 | PBid_DA t=23 | PBid_DA t=24 | QBid_DA t=1 | QBid_DA t=2 | QBid_DA t=3 | QBid_DA t=4 | QBid_DA t=5 | QBid_DA t=6 | QBid_DA t=7 | QBid_DA t=8 | QBid_DA t=9 | QBid_DA t=10 | QBid_DA t=11 | QBid_DA t=12 | QBid_DA t=13 | QBid_DA t=14 | QBid_DA t=15 | QBid_DA t=16 | QBid_DA t=17 | QBid_DA t=18 | QBid_DA t=19 | QBid_DA t=20 | QBid_DA t=21 | QBid_DA t=22 | QBid_DA t=23 | QBid_DA t=24 | Bus | qSVC_min | qSVC_max | Bid_SVC t=1 | Bid_SVC t=2 | Bid_SVC t=3 | Bid_SVC t=4 | Bid_SVC t=5 | Bid_SVC t=6 | Bid_SVC t=7 | Bid_SVC t=8 | Bid_SVC t=9 | Bid_SVC t=10 | Bid_SVC t=11 | Bid_SVC t=12 | Bid_SVC t=13 | Bid_SVC t=14 | Bid_SVC t=15 | Bid_SVC t=16 | Bid_SVC t=17 | Bid_SVC t=18 | Bid_SVC t=19 | Bid_SVC t=20 | Bid_SVC t=21 | Bid_SVC t=22 | Bid_SVC t=23 | Bid_SVC t=24
1 | 0 | 1 | 0.012705 | 0.30333 | 3 | 1.1025 | 0.9025 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.5 | 1.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 0 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | 1 | 2 | 0.001331 | 0.0074576 | 3 | 1.1025 | 0.9025 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6 | 1.6 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 1.5 | 1.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 0 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3 | 2 | 3 | 0.026902 | 0.12426 | 3 | 1.1025 | 0.9025 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2 | 2.2 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 6 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 0 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4 | 3 | 4 | 0.023353 | 0.060294 | 3 | 1.1025 | 0.9025 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2 | 3.2 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 0.5 | 0.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 0 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5 | 4 | 5 | 0.057031 | 0.14741 | 3 | 1.1025 | 0.9025 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3 | 3.3 | 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 0.5 | 0.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6 | 3 | 6 | 0.032267 | 0.14908 | 3 | 1.1025 | 0.9025 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6 | 2.6 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.95 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 0 | 100 | 3 | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 0.6 | 0.6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7 | 6 | 7 | 0.0363 | 0.16769 | 3 | 1.1025 | 0.9025 | [201 empty] | 11 | 1.2 | 1.2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8 | 7 | 8 | 0.028233 | 0.13046 | 3 | 1.1025 | 0.9025 | [201 empty] | 12 | 1.5 | 1.5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
9 | 8 | 9 | 0.014802 | 0.068325 | 3 | 1.1025 | 0.9025 | [201 empty] | 13 | 0.3 | 0.3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
10 | 9 | 10 | 0.0363 | 0.16769 | 3 | 1.1025 | 0.9025
11 | 2 | 11 | 0.11092 | 0.51241 | 3 | 1.1025 | 0.9025
12 | 11 | 12 | 0.12705 | 0.32833 | 3 | 1.1025 | 0.9025
13 | 12 | 13 | 0.15992 | 0.41537 | 3 | 1.1025 | 0.9025